## Sheet1
DRAFT
Schedule of Dilapidations
of
315 - 349 Sauchiehall Street,
Glasgow City Center,
Glasgow.
G2 3HW
2025-11-01

## 1 External
Ref | Lease clause | Want of repair | Remedy | U | Q | R | £
Front / Shopfront (External)
1.1 | TENTH | Frosting/vinyl and signage to glazing; graffiti; rotten timber; flashing issues | Remove frosting/vinyl/signage; clean glazing; repair/replace rotten timber; replace lead flashing; redecorate fascia/surround | item | 1 | 1600 | 1600
Rear Elevation
1.2 | FIRST | Three holes/penetrations in stone wall | Make good stone and seal penetrations to match existing | nr | 3 | 120 | 360
1.3 | SECOND | Rear fire door and surround weathered/scratched | Prepare and redecorate external door and frame with exterior system | item | 1 | 550 | 550
1.4 | FIRST | Concrete step cracked/deteriorated | Local concrete repair and re-seal | item | 1 | 220 | 220
[6 empty] | Subtotal | 2730

## 2 Ground Floor
Ref | Lease clause | Want of repair | Remedy | U | Q | R | £
Main Store
2.1 | FIRST; SECOND | Ceiling soiled/damaged; holes incl. 0.4×1.0 m; redundant lights | Patch plasterboard; remove redundant fittings; redecorate ceiling throughout | item | 1 | 2280 | 2280
2.2 | FIRST; SIXTEENTH | Metal boarding/shelving & timber supports to S/E/W walls | Remove boards/shelving; make good fixings; redecorate walls | item | 1 | 1420 | 1420
2.3 | FIRST | Vinyl laminate flooring scratched with tape repairs and decals | Remove and replace with new commercial vinyl incl. subfloor prep | m² | 120 | 35 | 4200
2.4 | FIRST; SIXTEENTH | L-shaped glazed counter and raised platform (~5 m) | Remove counter and platform; make good floor/decorations | item | 1 | 1150 | 1150
2.5 | SECOND; TENTH | Shopfront (internal) door/glazing scratched; surrounds require redecoration | Clean glazing; redecorate door/surround; minor carpentry repairs | item | 1 | 820 | 820
2.6 | FIRST; SECOND | Stairwell finishes: missing ceiling areas; partitions/door to remove | Remove partitions; form/repair ceilings; redecorate | item | 1 | 1560 | 1560
2.7 | FIRST; SECOND | Stair flooring & nosings worn | Replace vinyl to treads/landings; new nosings; redecorate stringer/handrail | item | 1 | 680 | 680
2.8 | FIRST; SECOND | Rear store (GF): ceilings/walls fixings and penetrations; dark lighting | Make good; redecorate; install new LED; make safe redundant wiring | item | 1 | 950 | 950
2.9 | FIRST | Rear store (GF): flooring replacement | Remove laminate; install new commercial vinyl | m² | 20 | 35 | 700
2.10 | FIRST; SECOND | Rear store: doors x4 damaged/poor ironmongery; frames to repair | Repair leaves/frames; new ironmongery sets; redecorate | nr | 4 | 420 | 1680
Toilet (GF)
2.11 | FIRST | Walls/tiles: holes; soiled grout; tile missing | Regrout; replace tiles; make good | item | 1 | 455 | 455
2.12 | FIRST | Floor: marked vinyl; no threshold | Replace vinyl; install threshold | m² | 5 | 35 | 175
Corridor (GF)
2.13 | FIRST; SECOND | Ceilings/walls soiled with holes; blinking downlighters | Infill holes; redecorate; replace faulty downlighters | item | 1 | 620 | 620
2.14 | FIRST; SECOND | Flooring replacement; redecorate door frame | Remove and replace with commercial vinyl; redecorate frame | m² | 8 | 35 | 280
Rear Bedroom / Office (GF)
2.15 | FIRST; THIRD; SIXTEENTH | Non-compliant FD door requiring replacement | Replace with FD30 door set incl. closers/seals; decorate | item | 1 | 830 | 830
2.16 | FIRST; SECOND | Walls/ceiling impact damage; tiles/whiteboards to remove; light to replace | Remove tiles/whiteboards; make good plaster; redecorate; replace light | item | 1 | 765 | 765
2.17 | FIRST; THIRD | Ventilation not working; electric convector heater present | Service/replace mechanical vent; remove heater; make good | item | 1 | 380 | 380
2.18 | FIRST; SECOND | Skirting to clean/redecorate; missing to east wall | Redecorate skirtings and install new to east wall | item | 1 | 260 | 260
2.19 | FIRST | Floor: carpet tiles loose/marked/stained | Lift and dispose; install new resilient floor finish | m² | 18 | 35 | 630
[6 empty] | Subtotal | 19835

## 3 Basement
Ref | Lease clause | Want of repair | Remedy | U | Q | R | £
Electrical Cupboard
3.1 | FIRST | Suspended ceiling grid deformed; tiles missing; lights graffitied | Replace grid and tiles; replace light fittings | m² | 6 | 55 | 330
3.2 | FIRST | Loose/unsecured cable | Make safe and secure; test | item | 1 | 250 | 250
Male Toilet
3.3 | FIRST; SECOND; THIRD | Lights partly non-functional; ventilation; general cleaning required | Redecorate ceilings; replace lights; remove speakers; service extract; sanitary clean | item | 1 | 975 | 975
3.4 | FIRST; SECOND | Walls: soiled/stained; sanitiser fittings to remove | Make good fixing holes; redecorate | item | 1 | 450 | 450
3.5 | FIRST; SECOND | Flooring & skirtings to renew/redecorate | Replace vinyl; renew skirtings; redecorate timber skirtings | m² | 10 | 35 | 350
Female Toilet
3.6 | FIRST; SECOND; THIRD | As male toilet | As male toilet | item | 1 | 975 | 975
3.7 | FIRST; SECOND | Walls: as male | Make good; redecorate | item | 1 | 450 | 450
3.8 | FIRST; SECOND | Flooring & skirtings: as male | Replace vinyl; renew/decorate skirtings | m² | 10 | 35 | 350
Store Room (Basement)
3.9 | FIRST; SECOND; FIFTH | Lowered plasterboard with mould; speaker system; faulty emergency light | Remove speakers; clean mould; redecorate; replace emergency light | item | 1 | 710 | 710
3.10 | FIRST; SECOND | Walls marked with fittings/holes; mech ventilation doubtful | Make good and redecorate; service/remove wall fan | item | 1 | 590 | 590
3.11 | SECOND | Skirtings marked/soiled | Prepare and redecorate | item | 1 | 120 | 120
3.12 | FIRST | Floor: vinyl missing centrally; stained | Remove and replace with new commercial vinyl | m² | 30 | 35 | 1050
3.13 | FIRST; SIXTEENTH | Rubbish present; redundant units; no door to room | Clear waste; remove redundant units; allow for new door by agreement | item | 1 | 480 | 480
≠
3.14 | FIRST; SECOND | Ceiling/walls require clean/redecoration; west ply failed; east wall impact damage | Clean and redecorate; replace damaged ply; repair impact damage | item | 1 | 580 | 580
3.15 | FIRST | Floor: concrete requires preparation | Scarify concrete floor | item | 1 | 180 | 180
3.16 | FIRST; THIRD | Electrical distribution board cover missing | Refit/replace DB cover; certify safe | item | 1 | 310 | 310
[6 empty] | Subtotal | 8150

## 4 Summary
Cost Summary
Section | Subtotal (£)
External | 2730
Ground Floor | 19835
Basement | 8150
TOTAL | 30715