## Front Pages
DRAFT
Schedule of Dilapidations
of
173/175 Glasgow Road,
Clydebank,
Glasgow.
G81 1LQ
July 2025
General clauses and preliminaries
This is a Schedule of Dilapidations prepared for the Premises known as 173/175 Glasgow Road, Clydebank, Glasgow G81 1LQ. The Schedule identifies the Wants of Repair found at the Premises under the terms of the Lease dated 20th July 1999 entered into between Thomas George Baker and Mrs Myra Elizabeth Baker residing at 19 Collylin Road, Bearsden, Glasgow G61, the Managing Trustees acting under and in terms of the TG Baker (Sound) Limited Directors Trust Deed dated 31st March 1999 and their successors as Trustees under and in terms of Declaration of Trust dated 31st March 1999 whose interests are now vested in Standard Life Trustee Company Limited (“The Landlord”), and T G BAKER (SOUND) LIMITED (Company Number SCO53364) having their registered office at 173/175 Glasgow Road, Clydebank, G81 1LQ (“the Tenant”).
1) | The Premises comprise the subjects known as 173 / 175 Glasgow Road, Clydebank, Glasgow, G81 1LQ.
2) | For the purposes of this Schedule, the front elevation of the Premises, facing Glasgow Road, is assumed to face south.
3) | The Schedule identifies the Wants of Repair identified at the Premises at the time of the survey by the Landlord's Surveyor. The Landlord reserves the right to add to or amend the Schedule as further defects become apparent.
4) | The final selection of finishes including all colours, specifications etc. are subject to approval by the Landlord. The specification for all paint finishes including number of coats, type of finishes etc. must be appropriate for the works required, be in accordance with good practice and to the satisfaction of the Landlord.
5) | The Schedule identifies repairs required to make good the defects listed. Further works may be necessary to remedy the defect listed due to further defects being unforeseen, covered by Tenant fittings or otherwise concealed and these works are deemed to be included in the Schedule.
6) | The Tenant is responsible for ensuring that the specification for all works is appropriate and ensuring works carried out meet with the approval of the Landlord.
7) | We have not expressed an opinion on those parts of the Property that were covered, unexposed or were inaccessible at the time of our inspection. Should defects in these areas become apparent later then they are deemed to be included in the Schedule.
8) | We were not able to access some of the office and other areas during our inspection. These are listed on the report.

## External
Item No | Lease clause | Want of repair | Remedy | U | Q | R | £
ORIGINAL BUILIDNG
1 |  | Roof
All slopes
1.01 | Three | There are slipped and missing slates to roof slopes throughout | Overhaul slaterwork, replace all slipped and missing slates and replace with slates to match existing. | Sum |  |  | 800
1.02 | Three | Straps to zinc hips and ridging are corroded. | Replace all corroded straps with new to match existing. | m | 128 | 10 | 1280
1.03 | Three | Check lead and flashings to decorative stonework. | Repair any damage to lead and flashings and make good. | Sum |  |  | 500
1.04 | Three, Four | Original cast iron gutters half round are corroding and open jointed on all elevations. | Clean down all gutters to remove corrosion, repoint all joints and redecorate on completion with rust inhibitor, undercoat and gloss paint. | m | 26 | 40 | 1040
1.05 | Three, Four | Original cast iron ogee gutters round are corroding and open jointed on all elevations. | Clean down all gutters to remove corrosion, repoint all joints and redecorate on completion with rust inhibitor, undercoat and gloss paint. | m | 27 | 45 | 1215
1.06 | Three | Flat roof to west portico | Inspect flat roof, remove all debris, clear out rainwater outlets. Leave the roof in good, watertight condition. | Sum |  |  | 250
1.07 | Three | Flat roof to east portico | Inspect flat roof, remove all debris, clear out rainwater outlets. Leave the roof in good, watertight condition. | Sum |  |  | 250
Roof to Extension Building
1.08 | Three | Regular maintenance required to central valley gutter. | Clear out central valley gutter to remove all debris. Inspect lead lining for any cracks, failures and replace/repair damaged leadwork. | Sum |  |  | 250
1.09 | Three | Moss growth to concrete tiles to roof slopes. | Clean off all moss growth. | m2 | 156 | 5 | 780
1.1 | Three, Four | Timber fascia is due for painting. | Clean down and redecorate fascia with undercoat and two coats of gloss paint. | m | 44 | 25 | 1100
1.11 | Three | Half round uPVC gutters are soiled and need cleaned and repointed. | Clean out half round gutters all round and repoint any open joints. | m | 44 | 12 | 528
Elevations
2 |  | Front Elevation (South facing Glasgow Road)
2.01 | Seven | Tenant has installed signage to elevation. | Remove all signage and make good damage. | No | 3 | 40 | 120
2.02 | Three | Vegetation and general soiling to the elevation. | Remove all vegetation and heavy soiling. | Sum |  |  | 1000
2.03 | Three | General areas of red sandstone walls on the front elevation are spalled. | Cut out spalled stone and replace with new stone to match existing to Local Planning Authority and Landlord's approval. | m² | 23 | 500 | 11500
2.04 | Three | Pointing to ALL smooth sandstone to front elevation has deteriorated and requires repointing | Rake out loose and missing pointing and repoint with lime mortar to match existing. | m² | 43 | 80 | 3440
2.05 | Three | Open pointing to sandstone stringcourse at first floor level. | Rake out loose and missing pointing and repoint with lime mortar to match existing to full length of stringcourse. | m | 13 | 25 | 325
2.06 | Three | Open pointing to sandstone eaves blocking course at first floor level. | Rake out loose an missing pointing and repoint with lime mortar to match existing to full length of stringcourse. | m | 13 | 25 | 325
2.07 | Three | Sandstone window hoods are soiled and open pointed. | Clean off soiling from hoods and repoint with lime mortar to match existing. | m | 13 | 75 | 975
2.08 | Three | Poor render repairs to sandstone panels below first floor windows. | Remove poor repairs, make good/repair sandstone to Landlord and Local Authority approval. | No | 4 | inc | inc
2.09 | Three, Four | Cast iron rainwater downpipes are affected by corrosion and require redecoration. | Clean down all downpipes to remove corrosion, check and repoint all joints and redecorate with rust inhibitor, undercoat and 1 coat of gloss. | m | 17 | 25 | 425
2.1 | Three | Hopper head to eastmost rainwater downpipe is cracked and is broken. | Replace cast iron hopper head with new to match existing. Include for all decoration and all connections. | Sum |  |  | 350
2.11 | Three | Crack to stone surround to east entrance door. | Repair crack and make good all damage. | Sum |  |  | 250
2.12 | Three, Four | Security grilles to the ground floor windows are affected by corrosion. | Take off security grilles, treat corrosion, redecorate with undercoat and gloss. Refix grilles on completion. | No | 6 | 50 | 300
2.13 | Five | uPVC windows are soiled. | Clean all windows including framing. | No | 13 | 10 | 130
2.14 | Three | Damp staining and damage to stonework moulding where cast iron downpipe passes through. | Make good dampness, repair stonework to Landlord's approval. | Sum |  |  | 150
2.15 | Three | Condensate pipe is incorrectly fitted to rainwater downpipe. | Reroute condensate pipe to below ground drain. | Sum |  |  | 250
2.16 | Three, Four | Cast iron air ventilation grille to front elevation has fallen off. | Clean and refit grille, redecorate. | Sum |  |  | 25
2.17 | Three, Four | Timber door to west entrance needs redecorated, finish is badly worn in parts. | Clean down and revarnish door to Landlord's approval. | Sum |  |  | 180
2.18 | Three, Four | Timber door to east entrance is due for redecoration. | Clean down and redecorate external door with undercoat and two coats of gloss. | Sum |  |  | 180
2.19 | Three | Roller shutters to external doors are heavily soiled and need cleaned and serviced. | Clean down roller shutter doors and ensure in working order. | No | 2 | 150 | 300
2.2 | Three | Concrete step to the west entrance is cracked and spalled. | Break out step and reform to Landlord's approval. | Sum |  |  | 300
2.21 | Three | Terrazzo finish to landing and steps at east entrance is soiled and cracked. | Clean and repair terrazzo. | Sum |  |  | 150
2.22 | Three | Entrance mat to east entrance door is soiled and worn. | Replace entrance mat with new. | Sum |  |  | 150
West elevation of West Portico
2.23 | Three | General areas of red sandstone walls are spalled/have been poorly repaired with cement render. Embedded railings have damaged the stonework at the window. | Clean up stonework, remove poor render repairs, remove bars damaging stone, repair/replace stonework to Local Planning Authority and Landlord's approval. | m² | 16 | 500 | 8000
2.24 | Three | Pointing to 50% smooth sandstone has deteriorated and requires repointing. | Rake out loose and missing pointing and repoint with lime mortar to match existing. | m² | 34 | inc | inc
2.25 | Three | Open pointing to sandstone stringcourse at mid and first floor level. | Rake out loose and missing pointing and repoint with lime mortar to match existing to full length of stringcourse. | m | 9.5 | 25 | 237.5
2.26 | Three | Open pointing to sandstone parapet wall. | Rake out loose an missing pointing and repoint with lime mortar to match existing. | m | 6 | 25 | 150
2.27 | Three | Damp staining and damage to stonework moulding where cast iron downpipe passes through. | Make good dampness, repair stonework to Landlord's approval. | Sum |  |  | 150
Hardstanding/boundaries to front elevation
2.28 | Seven | Metal mesh has been installed at base of railings. | Remove metal mesh to railings and make good any damage. | Sum |  |  | 75
2.29 | Three, Four | Cast iron railings are corroded and paint finish has deteriorated. | Remove all corrosion, treat with rust inhibitor and redecorate with undercoat and 2 coats of gloss. | m | 17 | 35 | 595
2.3 | Three | Railings have corroded through in parts. | Cut out corroded sections and replace with new railings to match existing. | Sum |  |  | 750
2.31 | Three | Dwarf wall to railings is affected by soiled and weed growth, is cracked and spalled. | Remove weed growth, clean walling, repair damaged stonework, repoint all joints to Landlord's approval. | m | 17 | 50 | 850
2.32 | Three | Vegetation and moss growth to hardstanding. | Remove all vegetation and moss growth. | Sum |  |  | 100
2.33 | Three | Concrete hardstanding at base of front elevation is cracked, patched and has mismatched repairs. | Break out damaged/patched areas and replace with new hardstanding to match original. | m² | 10 | 50 | 500
2.34 | Three | Broken and spalled concrete kerb stones to entrance platt at west portico entrance. | Replace damaged kerb stones. | Sum |  |  | 300
2.35 | Three | Broken and spalled concrete/tarmac to entrance platt at east entrance. | Break out concrete and tarmac and reform platt to Landlord's approval. | Sum |  |  | 850
Original building - east elevation
2.36 | Seven | Tenant has installed signage fixed to the elevation. | Remove all signage and make good damage. | Sum |  |  | 50
2.37 | Three | Vegetation and moss growth is present to elevation. | Remove all vegetation and moss growth to elevation and make good. | Sum |  |  | 300
2.38 | Three | Stonework to elevation is soiled in areas. | Clean off soiling to Landlord's approval. | Sum |  |  | 1500
2.39 | Three | Redundant cable to elevation. | Remove redundant cable. | Sum |  |  | 80
2.4 | Three | Poor render repairs have been undertaken on the east elevation of the front portico. | Hack off poor repairs, prepare substrate and supply and fit new stonework to Local Authority and Landlord approval. | m² | 5 | 500 | 2500
2.41 | Three | Soft spots are present to general areas of hammer dressed red sandstone throughout elevation (5 Large areas are present at approx. 3m² and one area is approx. 16m²). | Repair all damage to soft spots with new stonework to match existing to Local Planning Authority and Landlord's approval. | m² | 31 | 500 | 15500
2.42 | Three | Deteriorated stringcourse to bay window above northmost window. | Hack off damaged stonework and reform stringcourse in new stone to Local Authority and Landlord approval. | Sum |  |  | 1000
2.43 | Three | Deteriorated stonework to bay window mullion. | Cut back to sound substrate and rebuild damaged section of mullion with new stonework to Local Planning Authority and Landlord's approval. | Sum |  |  | 1000
2.44 | Three | Deteriorated stonework at splayed window cill. | Cut back to sound substrate and rebuild damaged cill with new stonework to Local Planning Authority and Landlord's approval. | Sum |  |  | 800
2.45 | Three | Pointing to smooth and hammer dressed sandstone to all of the elevation has deteriorated and requires repointing. | Rake out loose and missing pointing and repoint with lime mortar to match existing. | m² | 28 | 80 | 2240
2.46 | Three, Four | Cast iron rainwater downpipes require redecoration. | Clean down all downpipes, check joints and redecorate with undercoat and 1 coat of gloss. | m | 25 | 25 | 625
2.47 | Three | Duct tape repair to cast iron downpipe connection. | Remove tape, repair downpipe and leave in good, working order. | Sum |  |  | 200
2.48 | Three | Cast iron security bars have been fitted to ground floor windows embedded into stonework causing stonework to become cracked and damaged. | Cut out railings, repair stonework. | No | 8 | 250 | 2000
2.49 | Three |  | Replace security bars with alternative to Landlord's approval which can be removed for maintenance and do not cause damage to the stonework. | inc
2.5 | Three, Four | Steel painted security grilles fitted to the upper floor windows need decorated. | Remove grilles, redecorate and refit on completion. | No | 4 | 50 | 200
2.51 | Five | Windows to elevation are soiled and due to be cleaned. | Clean down all windows, frames and cills. | No | 8 | 10 | 80
2.52 | Three | Security/floodlight fittings need cleaned and overhauled. | Clean down light fittings and leave in good working order. | No | 2 | 20 | 40
2.53 | Three | Cable to elevation is loose. | Fix down cable to elevation. | Sum |  |  | 50
2.54 | Three | Felt detail to bay roof is poorly formed. | Remove felt and fit new with compliant detail. | Sum |  |  | 500
Hardstanding/boundaries to original building at east elevation
2.55 | Three, Four | Railings to boundary are corroded with parts corroded through. | Remove all corrosion, treat with rust inhibitor and redecorate with undercoat and 2 coats of gloss. | m | 15 | 35 | 525
2.56 | Three | Railings embedded in stone mullion and causing damage to the mullion. | Cut out railings from mullion and reform detail not fixed into stonework. | Sum |  |  | 500
2.57 | Three | Railings have corroded through in parts. | Replace damaged sections of railings which are corroded through. | Sum |  |  | 500
2.58 | Three | Hardstanding at the base of the elevation is patch repaired with mismatched materials. | Repair all of hardstanding to elevation to Landlord's Approval. | m² | 13 | 50 | 650
2.59 | Three | Vegetation and moss growth to base of elevation. | Remove all vegetation and moss growth. | Sum |  |  | 50
2.6 | Three | Manholes and gullies to the base of the elevation are heavily soiled. | Clean off manhole and gully covers, clear out gullies and ensure running free. | Sum |  |  | 200
2.61 | Three | Stone dwarf wall to railings is cracked. | Repair all damage to wall to Landlord's Approval. | Sum |  |  | 300
2.62 | Three | Render finish to brick pier is cracked and spalling. | Hack off damaged render and rerender to match existing. | Sum |  |  | 400
Extension - east elevation
2.64 | Three | Blockwork to elevation is soiled and needs cleaned. | Power wash blockwork. | m² | 81 | 5 | 405
2.65 | Five | Windows to elevation are soiled and need cleaned. | Clean down all windows, frames and cills. | No | 6 | 10 | 60
2.66 | Three | uPVC downpipes are soiled and need cleaned. | Clean down uPVC downpipes, check joints and connections and leave in good working order. | m | 12 | 8 | 96
2.67 | Three | uPVC shutters to ground floor windows need cleaned and serviced. | Clean and service shutters and leave in good working order. | No | 3 | 25 | 75
2.68 | Three | Concrete cills to ground floor windows are soiled. | Clean off concrete cills. | No | 3 | 10 | 30
2.69 | Three | Metal profiled cills to the upper floor windows are soiled. | Clean off metal profiled cills. | No | 3 | 10 | 30
2.7 | Three | Vegetation and moss growth to concrete hardstanding and pavement. | Remove all vegetation and moss growth. | Sum |  |  | 100
2.71 | Three | Tree to elevation is overgrown and is overhanging onto the roof of the building. | Remove overgrown sections of tree and remove any debris off roof. | Sum |  |  | 800
3 |  | Original building - west elevation
3.01 | Three, Four | Cast iron downpipes need cleaned and redecorated. | Clean down all downpipes, check joints and redecorate with undercoat and 1 coat of gloss. | m | 18 | 25 | 450
3.02 | Three | Southmost downpipe is not continued to drain. | Extend downpipe to connect to below ground drain. | Sum |  |  | 120
3.03 | Three | Pointing to sandstone is loose and missing in areas. (Allow 50%) | Rake out all loose and missing pointing and repoint with lime mortar to match existing. | m2 | 63 | 80 | 5040
3.04 | Three | Sandstone is damp stained and spalled along the elevation at low level to height of approximately 1.5m. | Clean off damp staining from sandstone, remove badly spalled stones and replace with new to match existing. | Sum |  |  | 1800
3.05 | Three | Sandstone is spalled in two separate areas. | Cut out damaged sandstone and replace with new to match existing to two areas n. e. more than 0.5m2. | Sum |  |  | 1200
3.06 | Three, Four | Steel bars to windows are corroded. | Remove bars to largest windows, clean and redecorate with rust inhibitor, undercoat and 2 coats of gloss and refit on completion. | No | 5 | 250 | 1250
3.07 | Five | uPVC windows are soiled. | Clean all windows and frames. | No | 6 | 10 | 60
3.08 | Three | Bars to smallest ground floor window are corroded. | Remove bars, make good stone and fit replacement bars. | Sum |  |  | 600
3.09 | Three | Pointing is open to ground floor windows. | Rake out pointing and repoint. | No | 2 | 50 | 100
Original building - rear north facing elevation
3.1 | Three | Pointing to sandstone is loose and missing in areas to lowest courses. | Rake out all loose and missing pointing and repoint with lime mortar to match existing. | m2 | 11 | 80 | 880
3.11 | Three | Sandstone is damp stained and damaged at the south west corner. | Cut out damaged sandstone and replace with new to match existing areas approx. 1.5m2. | Sum |  |  | 500
3.12 | Five | uPVC windows are soiled. | Clean all windows and frames. | No | 8 | 10 | 80
3.13 | Three | Pointing is open to all windows. | Rake out pointing and repoint. | No | 8 | 50 | 400
3.14 | Three | Bars to ground floor windows are corroded and have damaged stonework. | Remove bars, make good stone and fit replacement bars. | No | 4 | 250 | 1000
3.15 | Three, Four | Metal grilles to upper floor windows need decorated. | Take off metal security grilles and redecorate with undercoat and 1 coat of gloss. | No | 4 | 50 | 200
3.16 | Three | 1 floodlight needs checked and overhauled. | Check floodlight, clean and overhaul and leave in good working order. | Sum |  |  | 150
Extension - west elevation
3.17 | Three | uPVC downpipes are soiled and need cleaned. | Clean down uPVC downpipes, check joints and connections and leave in good working order. | m | 18 | 10 | 180
3.18 | Three | Staining to soil vent pipe | Check all downpipes, reseal joints. | Sum |  |  | 100
3.19 | Three | Damp staining to base of blockwork wall. | Check tarmac has not extended over dpc. | Sum |  |  | By Tenant
3.2 | Three | Concrete cills are soiled. | Clean off concrete cills. | No | 6 | 10 | 60
3.21 | Three, Four | Metal grilles to upper floor windows need decorated. | Take off metal security grilles and redecorate with undercoat and 1 coat of gloss. | No | 6 | 50 | 300
3.22 | Five | uPVC windows are soiled. | Clean all windows and frames. | No | 6 | 10 | 60
3.23 | Three | uPVC shutters to ground floor windows need cleaned and serviced. | Clean and service shutters and leave in good working order. | No | 3 | 200 | 600
Extension - rear elevation
3.24 | Three | Blockwork is soiled at the base | Clean up blockwork. | m | 10 | 5 | 50
3.25 | Three | uPVC downpipe is soiled and requires cleaned. | Clean down uPVC downpipe, check joints and connections and leave in good working order. | m | 6 | 10 | 60
3.26 | Three, Four | Metal grilles to upper floor window need decorated. | Take off metal security grilles and redecorate with undercoat and 1 coat of gloss. | No | 1 | 50 | 50
3.27 | Five | uPVC windows are soiled. | Clean all windows and frames. | No | 1 | 10 | 10
3.28 | Three, Four | Fire exit door needs decorated. | Clean down and redecorate door with 1 coat undercoat and 1 coat of gloss. | Sum |  |  | 120
4 |  | Yard/car parking
4.01 | Three | General weed growth to tarmac and concrete surfaces. | Clear all weed growth. | Sum |  |  | 150
4.02 | Three | Yard gullies are full of sludge. | Clear out yard gullies. | No | 2 | 200 | 400
4.03 | Three | Tarmac surface is cracked and spalled. | Scarify surface and cut out damaged tarmac and replace. | m2 |  |  | 3000
4.04 | Three | Tarmac is cracked in areas. | Rake out and infill cracks to Landlord's approval. | m2 |  |  | inc
4.05 | Three | Tarmac and concrete surface has been disturbed for previous drainage works. | Provide detail of drainage works to Landlord. | Sum |  |  | By Tenant
4.06 | Three | Tarmac at drainage track is in poor condition. | Uplift tarmac at drainage track and reform in tarmac to match existing. | Sum |  |  | 2000
4.07 | Three | Ditto to concrete surface at drainage track. | Ditto, ditto. | Sum |  |  | 1000
Boundaries
4.08 | Three | Damaged and missing sections of rubble sandstone boundary wall. | Rebuild missing sections in 3 places n.e. 0.5m2 with stone to match existing. | Sum |  |  | 1000
4.09 | Three | Vegetation growth to base of wall full length. | Remove all vegetation growth. | Sum |  |  | 200
4.1 | Three | Open and missing pointing to wall. | Rake out loose and missing pointing and repoint to match existing. Full length and height. | m2 | 56 | 80 | 4480
4.11 | Three, Four | Steel gates to entrance need decorated. | Clean down gates, treat with rust inhibitor and redecorate with undercoat and gloss. | Sum |  |  | 300
4.12 | Three | Tenants have installed containers. | Remove container and make good all damage to surface of car park. | Sum |  |  | By Tenant
|  | Total for Collection |  |  |  |  | 102711.5

## Ground Floor
Item No | Lease clause | Want of repair | Remedy | U | Q | R | £
5 |  | Ground Floor
Vestibule
5.01 | Three | Concrete flooring to vestibule is soiled. | Clean floor. | m² | 1 | 35 | 35
5.02 | Four | Tongue and groove timber boarding to walls and ceilings is due for redecoration. | Prepare boarding and redecorate with 2 coats of satinwood. | m² | 7 | 15 | 105
5.03 | Three | Light fitting to lobby has been removed and loose cables are present. | Install replacement light fitting to match original and make good any damage to ceiling. | Sum |  |  | 300
5.04 | Seven | Tenant has removed timber door to reception. | Reinstate door to match original and decorate surround to match. | Sum |  |  | 1500
Entrance hallway
5.05 | Four | Lath and plaster ceiling is soiled and due for redecoration. | Clean down and redecorate ceiling with 2 coats of emulsion to the approval of the Landlord. | m² | 5 | 9 | 45
5.06 | Three | Light fitting (original) is soiled and mismatched lamps. | Clean down light fitting. | Sum |  | 10 | 30
5.07 | Three |  | Replace mismatched lamps with new to match existing. | No | 2 | 20 | 40
5.08 | Four | Walls are soiled, marked and due for redecoration. | Clean down and redecorate walls with 2 coats of emulsion paint. | m² | 10 | 8 | 80
5.09 | Three | Dampness to walls at west elevation below window | Hack off affected plaster and timbers, treat dampness and replace all finishes. | Sum |  |  | 300
5.1 | Four | Decorative timber skirting is soiled and due for redecoration. | Clean down and redecorate skirting with 2 coats of satinwood. | m | 5 | 10 | 50
5.11 | Three | Minton floor tiles are soiled and require cleaning. | Clean down tiles to flooring and make good any damage. | m² | 4 | 15 | 60
5.12 | Four | Timber window board and moulded surrounds to window are due to be redecorated. | Redecorate with 2 coats of satinwood. | No | 1 | 75 | 75
5.13 | Five | Fanlights to doors are soiled and need cleaned. | Clean down fanlights. | No | 2 | 10 | 20
5.14 | Three | Steel pressed radiator is due to be cleaned. | Clean down radiator. | No | 1 | 10 | 10
5.15 | Seven | Tenant has fitted shelf for visitor book and installed door entry. | Remove all fittings and make good damage. | Sum |  |  | 100
Ground Floor Landing
5.16 | Four | Woodchip paper to ceiling is soiled and due to be redecorated. | Clean down and redecorate with at least 2 coats of emulsion paint to the approval of the Landlord. Allow for making good any tears, damage to woodchip. | m² | 11 | 10 | 110
5.17 | Three | Decorative chandelier light fitting is non functional and requires to be replaced. | Clean down light fittings. | No | 5 | 10 | 50
5.18 | Three |  | Replace lamp with new to match existing. | No | 5 | 80 | 400
5.19 | Four | Decorative plaster cornicing is soiled and due to be redecorated. | Clean down and redecorate decorative cornicing. | m | 10 | 12 | 120
5.2 | Four | Woodchip paper to walls is for redecoration. | Clean down and redecorate with at least 2 coats of emulsion paint to the approval of the Landlord. Allow for making good any tears, damage to woodchip. | m² | 24 | 9 | 216
5.21 | Four | Timber skirting is soiled and due for redecoration. | Clean down and redecorate skirting with 2 coats of satinwood. | m | 8 | 5 | 40
5.22 | Three | Carpet is soiled and worn. | Replace carpet with new. | m² | 10 | 48 | 480
5.23 | Four | Decorative balusters and handrail to stairwell are due to be redecorated. | Redecorate handrail and balusters with 2 coats of satinwood to the approval of the Landlord. | m | 7 | 75 | 525
5.24 | Four | Stringers and exposed treads to stairwell are due to be redecorated. | Redecorate all woodwork with 2 coats of satinwood to the approval of the Landlord. | Sum |  |  | 500
5.25 | Four | Timber panelled doors including decorative surrounds are due for decoration. | Clean down door, frame and surround with 2 coats of satinwood. | No | 4 | 120 | 480
5.26 | Three | Steel pressed radiator is due to be cleaned. | Clean down radiator. | No | 1 | 10 | 10
5.27 | Three | Electric convector heater requires cleaning. | Clean down electric convector heater. | No | 1 | 10 | 10
5.28 | Seven | Tenant left fixtures and fittings. | Remove all fittings and materials. | Sum |  |  | By Tenant
Store 1 (Below stair cupboard)
5.29 | Three | Store is full of cabling. | Remove cabling |  |  |  | By Tenant
5.3 | Four | Ceiling is soiled and due for redecoration. | Clean down and redecorate ceiling with 2 coats of emulsion to the approval of the Landlord. | m² | 2 | 5 | 10
5.31 | Three | Lamp holder light fitting is broken. | Remove entire light fitting and replace with new. | Sum |  |  | 150
5.32 | Four | Plaster walls are soiled, stained, and cracking. Evidence of water ingress. | Clean down walls and redecorate with 2 coats of emulsion. | m² | 8 | 8 | 64
5.33 | Three |  | Treat all water ingress and repair cracking and any damage present to walls. | Sum |  |  | 300
5.34 | Three | Terrazzo flooring is soiled. | Clean down terrazzo flooring and make good. | m² | 2 | 8 | 16
5.35 | Four | Windows are soiled due to be cleaned and the timber frames and cills are due to be redecorated. | Clean down glazing and redecorate frames and cills with 2 coats of satinwood. | No | 1 | 75 | 75
Office 1
5.36 | Four | Lath and plaster ceiling is slightly soiled and due for redecoration. Holes from previous fixings. | Repair fitting holes, clean down and redecorate ceiling with 2 coats of emulsion to the approval of the Landlord. | m² | 17 | 9 | 153
5.37 | Three | Fluorescent baton light fitting requires to be cleaned. | Clean down light fitting. | No | 1 | 10 | 10
5.38 | Four | Fluorescent bar light fitting has been removed and replaced with 2 non functional spotlights. | Remove 2 non functional spotlights and install new baton lighting. | Sum |  |  | 180
5.39 | Four | Decorative cornice is due to be redecorated. | Clean down and redecorate decorative cornice. | m | 8 | 12 | 96
5.4 | Four | Plasterboard walls are soiled and due for redecoration. | Clean down and redecorate plasterboard walls with 2 coats of emulsion paint. | m² | 46 | 8 | 368
5.41 | Four | Decorative timber skirting is soiled and due for redecoration. | Clean down and redecorate skirting with at least 2 coats of satinwood. | m | 16 | 5 | 80
5.42 | Three | Carpet is slightly soiled and due to be cleaned. | Deep clean carpet and make good. | m² | 17 | 5 | 85
5.43 | Four | Timber panelled doors are soiled and due to be redecorated. | Clean down timber door and frame and redecorate with at least 2 coats of satinwood. | No | 2 | 120 | 240
5.44 | Seven | Tenant has infilled doorway to East elevation with foam blocks. | Remove foam blocks and reinstate doorway. Make good to any damage and install new door to match existing. | Sum |  |  | 200
5.45 | Seven | Tenant left fixtures and fittings mounted to walls. | Remove all fixtures, fittings and materials and make good to any damage. | Sum |  |  | 50
5.46 | Three | Steel pressed radiator is due to be cleaned. | Clean down radiator and ensure in working order. | No | 1 | 10 | 10
5.47 | Three | Cover to socket has been removed. | Install new cover to socket and ensure the socket is in good working order. | Sum |  |  | 60
5.48 | Four | Timber framed window is soiled and the timber frame is due to be redecorated. | Clean down glazing and redecorate frames with at least 2 coats of satinwood. | No | 1 | 75 | 75
5.49 | Four | Timber framing to original North elevation is due to be redecorated. | Clean down and redecorate framing with at least 2 coats of satinwood. | m | 6 | 10 | 60
Office 2 (full of fittings at the time of inspection)
5.5 | Four | Lath and plaster ceiling is slightly soiled and due for redecoration. Holes from previous fixings. | Repair fitting holes, clean down and redecorate ceiling with 2 coats of emulsion to the approval of the Landlord. | m² | 10 | 9 | 90
5.51 | Four | Decorative cornice is present to room and due to be redecorated. | Clean down and redecorate decorative cornice. | m | 4 | 12 | 48
5.52 | Four | Plastered walls are soiled and due for redecoration. | Clean down and redecorate plasterboard walls with 2 coats of emulsion paint. | m² | 15 | 8 | 120
5.53 | Four | Decorative timber skirting is soiled and due for redecoration. | Clean down and redecorate skirting with at least 2 coats of satinwood. | m | 11 | 5 | 55
5.54 | Five | Upvc windows are soiled and timber surrounds need decorated. | Clean down windows and redecorate surrounds. | No | 3 | 10 | 30
5.55 | Four | Timber panelling and surrounds to window walls require redecoration. | Clean down and redecorate with at least 2 coats of satinwood. | Sum |  |  | 300
5.56 | Seven | Holes are present from previous fittings to timber panelling. | Repair any damage to timber panelling and make good. | Sum |  |  | 100
5.57 | Three | Steel pressed radiator needs cleaned. | Clean down radiator. | No | 1 | 10 | 10
5.58 | Three | Fluorescent baton light fitting is soiled and appears to be non functional. | Replace baton light fitting with new. | No | 1 | 120 | 120
5.59 | Three | Carpet is slightly soiled and due to be cleaned. | Deep clean carpet and make good. | m² | 10 | 5 | 50
5.6 | Seven | Tenant left fixtures and fittings. | Remove all fixtures and fittings and make good to any damage. | Sum |  |  | By Tenant
5.61 | Three | Socket cover to East elevation is dated and heavily soiled. | Replace socket cover and ensure in good working order. | Sum |  |  | 60
6 |  | Corridor to Archive
6.01 | Three | Suspended ceiling tiles are dated, soiled, marked, damaged, sagged and some tiles are missing. | Remove and replace suspended ceiling tiles and grid with new. | m² | 2 | 40 | 80
6.02 | Three | Light fittings are due to be cleaned. | Clean down light fittings. | No | 2 | 10 | 20
6.03 | Four | Textured coated walls are soiled, marked and the finish has cracked and peeled throughout. | Repair all damage to walls and wall finish and redecorate with at least 2 coats of emulsion to the approval of the Landlord. | m² | 9 | 9 | 81
6.04 | Four | Timber skirting is soiled and due for redecoration. | Clean down and redecorate skirting with at least 2 coats of satinwood. | m | 3 | 5 | 15
6.05 | Three | Carpet is soiled and worn. | Replace carpet with new. | m² | 2 | 48 | 96
6.06 | Seven | Tenant has removed door leading to WC corridor. | Reinstate previous timber door and make good to any damage. | Sum |  |  | 280
6.07 | Four | Door frames are heavily marked and soiled. | Clean down and paint door frames with at least 2 coats of satinwood. | No | 2 | 40 | 80
6.08 | Four | Timber stable door to Archive is soiled and due to be redecorated. | Clean down and varnish timber stable door and frame with at least 2 coats of varnish. | Sum |  |  | 130
6.09 | Three | Steel pressed radiator is due to be cleaned. | Clean down radiator and ensure in working order. | No | 1 | 10 | 10
Archive
6.1 | Three | Suspended ceiling tiles are dated, soiled, marked, damaged, sagged and some tiles are missing. | Remove and replace suspended ceiling tiles and grid with new. | m² | 60 | 40 | 2400
6.11 | Three | Fluorescent baton light fittings soiled, dated, mismatched and lamps are non functional. | Remove and replace all light fittings with new. | No | 10 | 120 | 1200
6.12 | Four | Woodchip to walls is soiled, marked and the finish has cracked and peeled throughout. | Repair all damage to walls and wall finish and redecorate with at least 2 coats of emulsion to the approval of the Landlord. | m² | 96 | 9 | 864
6.13 | Four | Timber skirting is soiled and due for redecoration. | Clean down and redecorate skirting with at least 2 coats of satinwood. | m | 28 | 5 | 140
6.14 | Three | Carpet is soiled and worn. Tape repairs are present and the floor finish has been applied unevenly. | Replace carpet with new. | m² | 60 | 48 | 2880
6.15 | Seven | Tenant left fixtures and fittings. | Remove all fittings and materials. | Sum |  |  | By Tenant
6.16 | Seven | Tenant installed shelving. | Remove shelving and make good to any damage. | Sum |  |  | By Tenant
6.17 | Four | Timber doors are soiled and due to be redecorated. | Clean down timber door and frame and redecorate with at least 2 coats of satinwood. | No | 2 | 120 | 240
6.18 | Four | Steel vault door to Store 5 is soiled, finish is deteriorating and is due to be redecorated. | Clean down, treat and make good to any damage and redecorate steel vault door with at least 2 of proprietary paint. | Sum |  |  | 160
6.19 | Four | Windows are soiled due to be cleaned and the timber frames and cills are due to be redecorated. | Clean down glazing and redecorate frames and cills with at least 2 coats of satinwood. | No | 6 | 75 | 450
6.2 | Three | Steel pressed radiator is due to be cleaned. | Clean down radiator. | Sum |  |  | 10
Store 2
6.21 | Three | Suspended ceiling tiles are dated, soiled, marked, damaged and some tiles are missing. | Remove and replace suspended ceiling tiles and grid with new. | m² | 10 | 40 | 400
6.22 | Three | Fluorescent baton fitting is soiled and due to be cleaned. | Clean down light fitting. | No | 1 | 20 | 20
6.23 | Four | Wall finishes are marked and damaged. | Repair any damage to wall finish and redecorate with at least 2 coats of emulsion to the approval of the Landlord. | m² | 32 | 9 | 288
6.24 | Four | Timber skirting is soiled and due for redecoration. | Clean down and redecorate skirting with at least 2 coats of satinwood. | m | 10 | 5 | 50
6.25 | Three | Carpet is soiled, dated and worn. | Replace carpet with new. | m² | 10 | 48 | 480
6.26 | Three | Timber door is marked and soiled. Damage is present to the door handle and the timber is deteriorating. Handle is not functional and has been poorly fitted. | Remove entire door and replace with new. | Sum |  |  | 350
6.27 | Four | Steel vault door is heavily marked, stained and soiled. | Treat steel to door, make good to any damage and redecorate door with at least 2 coats of proprietary paint. | Sum |  |  | 160
6.28 | Seven | Door to Archive room has been removed by the tenant. | Install new door and make good to any damage. | Sum |  |  | 280
6.29 | Four | Door frames are soiled and due to be redecorated. | Clean down and redecorate door frames with at least 2 coats of satinwood. | No | 3 | 40 | 120
6.3 | Seven | Tenant has installed shelving to room. | Remove shelving and make good to any damage. | Sum |  |  | By Tenant
6.31 | Seven | Tenant has installed fittings and decals to door frame. | Remove all fittings and decals and make good. | Sum |  |  | By Tenant
Store 3 (Former safe)
6.32 | Four | Plaster ceiling is cracked and soiled due to be redecorated. | Clean down, make good to any damage and redecorate ceiling with at least 2 coats of proprietary paint. | m² | 6 | 20 | 120
6.33 | Three | Fluorescent baton light fitting lamp has been removed. | Install new baton light fitting. | No | 1 | 120 | 120
6.34 | Three | Wall tiling is soiled, marked, chipped and due to be cleaned. | Clean down wall tiling and make good any damage. | m² | 25 | 5 | 125
6.35 | Three | Solid floor is heavily soiled, marked and due to be cleaned. | Clean floor and good all damage. | m² | 6 | 15 | 90
6.36 | Seven | Tenant left fixtures and fittings. | Remove all fittings and materials. | Sum |  |  | By Tenant
6.37 | Seven | Tenant installed shelving. | Remove shelving and make good to any damage. | Sum |  |  | By Tenant
Office 3
6.38 | Three | Suspended ceiling tiles are dated, soiled, marked and some tiles are missing. | Remove and replace suspended ceiling tiles and grid with new. | m² | 13 | 40 | 520
6.39 | Three | Fluorescent baton light fitting lamp has been removed. | Install new baton light fitting. | No | 1 | 120 | 120
6.4 | Four | Wallpaper walls are soiled, marked and due for redecoration. | Clean down, remove and replace wallpaper with new. | m² | 37 | 10 | 370
6.41 | Four | Timber skirting is soiled and due for redecoration. | Clean down and redecorate skirting with at least 2 coats of satinwood. | m | 13 | 5 | 65
6.42 | Three | Carpet is soiled and worn. | Replace carpet with new. | m² | 13 | 48 | 624
6.43 | Four | Windows are soiled due to be cleaned and the timber frames and cills are due to be redecorated. | Clean down glazing and redecorate frames and cills with at least 2 coats of satinwood. | No | 4 | 25 | 100
6.45 | Seven | Tenant left fixtures and fittings. | Remove all fittings and materials. | Sum |  |  | By Tenant
6.46 | Three | Steel pressed radiator is due to be cleaned. | Clean down radiator. | No | 2 | 10 | 20
Trade Counter
6.47 | Three | Ceiling tiles are dated, soiled, marked, damaged, sagged and some tiles are missing. | Remove and replace suspended ceiling tiles and grid with new. | m² | 19 | 40 | 760
6.48 | Three | Fluorescent baton light fittings soiled, dated, mismatched and lamps are non functional. | Remove and replace all light fittings with new. | No | 3 | 120 | 360
6.49 | Four | Walls are soiled, marked and the finish has cracked and peeled throughout. | Repair all damage to walls and wall finish and redecorate with at least 2 coats of emulsion to the approval of the Landlord. | m² | 16 | 20 | 320
6.5 | Three | Tenant has left fitting holes present to walls. | Make good to any damage present to walls. | Sum |  |  | 100
6.51 | Four | Timber skirting is soiled and due for redecoration. | Clean down and redecorate skirting with at least 2 coats of satinwood. | m | 9 | 5 | 45
6.52 | Three | Carpet is soiled and worn. | Replace carpet with new. | m² | 19 | 48 | 912
6.53 | Seven | Tenant left fixtures and fittings. | Remove all fittings and materials. | Sum |  |  | By Tenant
6.54 | Four | Timber door is soiled and due to be redecorated and glazing us due to be cleaned. | Clean down timber door, frame and glazing and redecorate with at least 2 coats of varnish. | No | 1 | 120 | 120
6.55 | Four | Timber framed windows are soiled due to be cleaned and the timber frames and cills are due to be redecorated. | Clean down glazing and redecorate frames and cills with at least 2 coats of satinwood. | No | 5 | 75 | 375
6.56 | Three | Steel pressed radiator is due to be cleaned. | Clean down radiator and ensure in working order. | No | 1 | 10 | 10
6.57 | Three, Seven | Tenant has installed timber partition mounted to flooring (approximately 2m high). | Remove timber partition and make good to any damage. | Sum |  |  | 200
6.58 | Three, Seven | Tenant has installed countertop to trade area mounted to floor. | Remove timber countertop and make good to any damage. | Sum |  |  | 300
Store 5 (Strongroom)
6.59 |  | No access
Corridor to WC
6.6 | Four | Plasterboard ceiling is soiled, marked and due for redecoration. | Clean down and redecorate ceiling with 2 coats of emulsion to the approval of the Landlord. | m² | 19 | 9 | 171
6.61 | Three | Fluorescent light fittings require to be cleaned. | Clean down light fittings. | No | 4 | 10 | 40
6.62 | Three | Fluorescent baton light fitting is non functional. | Replace fluorescent light fitting with new. | No | 1 | 120 | 120
6.63 | Four | Walls are soiled, marked, have impact damage and due for redecoration. | Clean down and redecorate concrete walls with 2 coats of emulsion paint. | m² | 56 | 8 | 448
6.64 | Three |  | Make good to all impact damage and chipping to walls throughout corridor. | Sum |  |  | 150
6.65 | Four | Plasterboard patch repair to South wall which has been poorly fitted and is mismatched in colour. | Remove patchwork to wall and repair properly with plasterboard. Redecorate patch to match colour of walls. | Sum |  |  | 150
6.66 | Three | Holes have been formed for new services pipework but the wall finishes have not been made good. | Repair damage to holes in the wall and make good. | Sum |  |  | 100
6.67 | Four | Timber skirting is soiled and due for redecoration. | Clean down and redecorate skirting with at least 2 coats of satinwood. | m | 18 | 5 | 90
6.68 | Three | Carpet is soiled, worn, has tape repair and unevenly fitted. | Replace carpet with new. | m² | 19 | 48 | 912
6.69 | Four | Timber doors are soiled and due to be redecorated. | Clean down timber door and frame and redecorate with at least 2 coats of satinwood. | No | 2 | 120 | 240
6.7 | Four | Timber double doors to electrical cupboard are soiled and due to be redecorated. | Clean down timber door and frame and redecorate with at least 2 coats of satinwood. | No | 4 | 15 | 60
6.71 | Three | Timber door to Store 6 is affected by impact damage. | Replace door to match existing. | Sum |  |  | 250
6.72 | Three | Steel pressed radiator is due to be cleaned. | Clean down radiator. | No | 1 | 10 | 10
6.73 | Seven | Tenant left fixtures and fittings. | Remove all fittings and materials. | Sum |  |  | By Tenant
6.74 | Seven | Tenant installed shelving. | Remove shelving and make good to any damage. | Sum |  |  | By Tenant
6.75 | Three | Trunking to high level is broken and the cabling has come loose. | Repair damage to trunking and refix cable. | Sum |  |  | 40
6.76 | Three | Light switch to West wall has sunken into wall and is heavily soiled. | Remove light switch and replace with new. Ensure in good working order. | Sum |  |  | 60
6.77 | Four | Door frames are heavily marked and soiled and are due for decoration. | Clean down and paint door frames with at least 2 coats of satinwood. | No | 5 | 15 | 75
WC
6.78 | Four | Plasterboard ceiling is soiled and due for redecoration. | Clean down and redecorate ceiling with 2 coats of emulsion to the approval of the Landlord. | m² | 5 | 9 | 45
6.79 | Three | Non compliant lamp holder to WC and IVS compartment. | Replace with compliant light fittings. | No | 2 | 100 | 200
6.8 | Four | Walls are due for redecoration. | Clean down and redecorate walls with 2 coats of emulsion paint. | m² | 34 | 8 | 272
6.81 | Three | Tiled splashback to walls are soiled and grout has deteriorated. | Regrout tiled splashback. | m² | 2 | 20 | 40
6.82 | Four | Timber skirting is soiled and due for redecoration. | Clean down and redecorate skirting with at least 2 coats of satinwood. | m | 4 | 5 | 20
6.83 | Three | Vinyl tile floor finish is soiled, stained, marked and missing throughout. | Remove and replace all vinyl tiles with new. | m² | 2.5 | 48 | 120
6.84 | Three | Carpet is soiled and worn. | Replace carpet with new. | m² | 2.5 | 48 | 120
6.85 | Four | Timber door is soiled and due to be redecorated. | Clean down timber door and frame and redecorate with at least 2 coats of satinwood. | No | 1 | 120 | 120
6.86 | Three | Steel pressed radiator is due to be cleaned. | Clean down radiator and ensure in working order. | No | 1 | 10 | 10
6.87 | Three | Tenant installed shelving. | Remove shelving and make good to any damage. | Sum |  |  | By Tenant
6.88 | Three | WC and WHB are soiled and due to be cleaned. | Clean down WC and WHB and ensure in working order. | Sum |  |  | 20
6.89 | Three | Tenant has installed electric hand dryers. | Clean down electric hand dryers and ensure in working order. | Sum |  |  | 10
6.9 | Three | Extract fan is soiled and due to be cleaned. | Clean out extract fan and ensure in working order. | No | 1 | 40 | 40
6.91 | Three | Loose cabling to North wall. | Trace cable and remove if redundant or rewire in conduit if live. | Sum |  |  | 100
6.92 | Three | Tenant has left materials and possessions to loft above WC room. | Remove all materials and possessions and make good. | Sum |  |  | By Tenant
Store 6
6.93 |  | No access
7 |  | Workshop
7.01 | Four | Plasterboard ceiling is soiled, marked and due for redecoration. | Clean down and redecorate ceiling with 2 coats of emulsion to the approval of the Landlord. | m² | 117 | 9 | 1053
7.02 | Three | Damage to ceiling from previous fixings. | Make good damage to ceiling. | Sum |  |  | 200
7.03 | Three | Fluorescent baton light fittings are mismatched, one has a cover missing, some are non functional. | Replace failed light fittings with new to match existing. | No | 14 | 80 | 1120
7.04 | Four | Plasterboard walls are soiled, marked, stained and due for redecoration. | Clean down and redecorate plasterboard walls with 2 coats of emulsion paint. | m² | 141 | 8 | 1128
7.05 | Four | Timber skirting is soiled and due for redecoration. | Clean down and redecorate skirting with at least 2 coats of satinwood. | m | 48 | 7 | 336
7.06 | Three | Carpet tile flooring is soiled, stained, worn and due to be replaced. | Remove and replace carpet tiles with new. | m² | 117 | 48 | 5616
7.07 | Four | Windows are soiled due to be cleaned and the timber frames and cills are due to be redecorated. | Clean down glazing and redecorate frames and cills with at least 2 coats of satinwood. | No | 8 | 25 | 200
7.08 | Four | Timber internal windows are soiled due to be cleaned and the timber frames are due to be redecorated. | Clean down glazing and redecorate frames with at least 2 coats of satinwood. | No | 2 | 20 | 40
7.09 | Three | Steel pressed radiator is due to be cleaned. | Clean down radiator. | No | 8 | 10 | 80
7.1 | Four | Timber doors are soiled and due to be redecorated. | Clean down timber door and frame and redecorate with at least 2 coats of satinwood. | No | 2 | 120 | 240
7.11 | Four | Timber doors are soiled and due to be redecorated. | Clean down timber door and frame and redecorate with at least 2 coats of varnish. | No | 2 | 120 | 240
7.12 | Three, Seven | Tenant has installed a timber raised floor on top of the existing floor covering to the North West corner (approx. 8m x 4m). | Remove timber raised flooring and make good to any damages. | Sum |  |  | 300
7.13 | Seven | Tenant has installed timber boarding to walls. | Remove timber boarding from walls and make good to any damage. | Sum |  |  | 30
7.14 | Seven | Tenant left fixtures and fittings. | Remove all fittings and materials. Include for fittings mounted to walls and making good. | Sum |  |  | 150
Kitchen
7.15 | Four | Plasterboard ceiling is soiled and due for redecoration. | Clean down and redecorate ceiling with 2 coats of emulsion to the approval of the Landlord. | m² | 9 | 9 | 81
7.16 | Three | Fluorescent baton light fittings require to be cleaned. | Clean down light fittings. | No | 1 | 10 | 10
7.17 | Four | Plasterboard walls are soiled, marked and due for redecoration. | Clean down and redecorate plasterboard walls with 2 coats of emulsion paint. | m² | 33 | 8 | 264
7.18 | Four | Timber skirting is soiled and due for redecoration. | Clean down and redecorate skirting with at least 2 coats of satinwood. | m | 7 | 5 | 35
7.19 | Three | Carpet flooring is soiled and marked. | Replace carpet tiles with new. | m² | 9 | 48 | 432
7.2 | Five, Four | Windows are soiled and are due to be redecorated. | Clean down glazing and redecorate frames and cills with at least 2 coats of satinwood. | No | 1 | 25 | 25
7.21 | Three | Water ingress marks are present to surround of extract fan. | Repair any damage to the walls, ensure there is no leakage and make good. | Sum |  |  | 30
7.22 | Three | Extract fan is soiled and due to be cleaned. | Clean down extract fan and ensure in working order. | Sum |  |  | 20
7.23 | Three | Steel pressed radiator is due to be cleaned. | Clean down radiator. | No | 1 | 10 | 10
7.24 | Seven | Tenant has installed fittings and timber board to wall. | Remove fittings and timber and make good to any damage. | Sum |  |  | 30
7.25 | Three | Tea prep units are damaged. | Replace units. Replumb sink. | Sum |  |  | 200
7.26 | Three | Tiled splashback is soiled and due to be cleaned (approx. 2m x 0.4m). | Clean down tiled splashback. | Sum |  |  | 10
7.27 | Three | Plasterboard wall to underside of kitchen counter has been damaged by pipework installations. | Repair all damage to plasterboard and make good. | Sum |  |  | 200
Office 4
7.28 | Four | Plasterboard ceiling is soiled and due for redecoration. | Clean down and redecorate ceiling with 2 coats of emulsion to the approval of the Landlord. | m² | 14 | 9 | 126
7.29 | Three | Fluorescent baton light fittings are mismatched and require to be replaced. | Replace mismatched light fittings with new. | No | 2 | 80 | 160
7.3 | Four | Plasterboard walls are soiled, marked and due for redecoration. | Clean down and redecorate plasterboard walls with 2 coats of emulsion paint. | m² | 42 | 8 | 336
7.31 | Three | Damage around dart board. | Repair damage to plasterboard wall. | Sum |  |  | 20
7.32 | Four | Timber skirting is soiled and due for redecoration. | Clean down and redecorate skirting with at least 2 coats of satinwood. | m | 15 | 5 | 75
7.33 | Three | Carpet tile flooring is soiled, worn, marked and due to be replaced. | Remove and replace carpet tiles with new. | m² | 14 | 48 | 672
7.34 | Four, Five | Windows are soiled due to be cleaned and the timber frames and cills are due to be redecorated. | Clean down glazing and redecorate frames and cills with at least 2 coats of satinwood. | No | 1 | 25 | 25
7.35 | Seven | Fittings and shelving is present mounted to walls. | Remove all fittings and shelving and make good any damage. | Sum |  |  | 80
7.36 | Three | Loose cabling and missing socket cover to west wall. | Refix cabling, replace all covers with new. | Sum |  |  | 100
|  | Total for Collection |  |  |  |  | 43723

## First Floor
Item No | Lease clause | Want of repair | Remedy | U | Q | R | £
8 |  | First Floor
Office 9 (Boardroom)
8.01 | Four | Woodchip to ceiling is due for redecoration. | Clean down and redecorate with 2 coats of emulsion. | m² | 20 | 9 | 180
8.02 | Three | Glass/brass globe light fittings are soiled and due to be cleaned. | Clean down light fittings. | No | 9 | 10 | 90
8.03 | Four | Decorative cornice is due to be redecorated. | Redecorate decorative cornice. | m | 21 | 12 | 252
8.04 | Four | Wallpaper finish to walls is soiled and due for redecoration. | Strip paper, make good walls and redecorate with 3 coats of emulsion. | m² | 43 | 15 | 645
8.05 | Four | Timber wall panelling to bay is due to be redecorated. | Clean down and redecorate timber panelling with 2 coats of satinwood. | m² | 7 | 30 | 210
8.06 | Four | Decorative timber skirting is soiled and due for redecoration. | Clean down and redecorate skirting with 2 coats of satinwood. | m | 20 | 7 | 140
8.07 | Three | Carpet is worn. | Remove carpet and replace with new. | m² | 20 | 48 | 960
8.08 | Seven | Tenant left fixtures and fittings mounted to walls. | Remove all fixtures, fittings and materials and make good to any damage. | Sum |  |  | By Tenant
8.09 | Three | Steel pressed radiators, 1 new and 1 original are due to be cleaned. | Clean down radiators. | No | 2 | 10 | 20
8.1 | Five | Windows are soiled due to be cleaned and the timber frames and cills are due to be redecorated. | Clean down glazing and redecorate frames and cills with 2 coats of satinwood. | No | 4 | 75 | 300
8.11 | Four | Decorative fireplace is soiled and due to be cleaned and redecorated. | Clean down ceramic tiles and timber surround to fireplace and varnish timber to surround. | Sum |  |  | 100
8.12 | Seven | Tenants have installed blinds and curtains at windows. | Remove fittings and make good any damage. | Sum |  |  | 150
8.13 | Seven | Tenants have formed cupboard to install equipment. | Remove partitioning and make good. | Sum |  |  | 100
Office 10
8.14 | Four | Woodchip to ceiling is due for redecoration. | Clean down and redecorate with 2 coats of emulsion. | m² | 20 | 9 | 180
8.15 | Three | Ditto to plain plaster ceiling around velux. | Ditto. | m² | 3 | 9 | 27
8.16 | Three | Evidence of previous water ingress at east wall. | Make good wall/ceiling plaster finishes where previously damaged from water ingress. | Sum |  |  | 200
8.17 | Three | Fluorescent baton light fittings require to be cleaned. | Clean down light fittings. | No | 2 | 20 | 40
8.18 | Four | Decorative cornice is present to room and due to be redecorated. | Clean down and redecorate decorative cornice. | m | 21 | 12 | 252
8.19 | Four | Plasterboard walls with woodchip finish are soiled and due for redecoration. | Clean down and redecorate walls with 2 coats of emulsion paint. | m² | 44 | 8 | 352
8.2 | Three | Ditto to walls to press with plaster finish.. | Ditto.
8.21 | Three | Carpet is slightly soiled, worn and due to be replaced. | Remove carpet and replace with new. | m² | 20 | 48 | 960
8.22 | Four | Decorative timber skirting is soiled and due for redecoration. | Clean down and redecorate skirting with 2 coats of satinwood. | m | 15 | 7 | 105
8.23 | Four | Timber doors are soiled and due to be redecorated. | Clean down timber door and frame and redecorate with 2 coats of satinwood. | No | 2 | 120 | 240
8.24 | Three | Door handle to door is missing to press. | Replace door handle with new and make good to any damage. | Sum |  |  | 80
8.25 | Three | Steel pressed radiator is due to be cleaned. | Clean down radiator. | No | 1 | 10 | 10
8.26 | Five | Velux window is soiled and due to be cleaned. | Clean down velux window. | Sum |  |  | 20
Office 5
8.27 | Four | Woodchip to ceiling is due for redecoration. | Clean down and redecorate with 2 coats of emulsion. | m² | 10 | 9 | 90
8.28 | Three | Fluorescent baton light fittings require to be cleaned and one is non functional. | Clean down light fittings. | No | 2 | 20 | 40
8.29 | Three |  | Replace non functional lamp with new. | No | 1 | 120 | 120
8.3 | Four | Decorative cornice is present to room and due to be redecorated. | Clean down and redecorate decorative cornice. | m | 13 | 12 | 156
8.31 | Four | Plasterboard walls with woodchip finish are soiled and due for redecoration. | Clean down and redecorate walls with 2 coats of emulsion paint. | m² | 34 | 9 | 306
8.32 | Four | Timber wall panelling to window is soiled and due to be redecorated. | Clean down and redecorate timber panelling with 2 coats of emulsion. | m² | 5 | 30 | 150
8.33 | Three | Carpet is slightly soiled, worn and due to be replaced. | Remove carpet and replace with new. | m² | 10 | 48 | 480
8.34 | Four | Decorative timber skirting is soiled and due for redecoration. | Clean down and redecorate skirting with 2 coats of satinwood. | m | 12 | 7 | 84
8.35 | Four | Timber doors are soiled and due to be redecorated. | Clean down timber door and frame and redecorate with 2 coats of satinwood. | No | 2 | 120 | 120
8.36 | Four | Windows are soiled due to be cleaned and the timber frames and cills are due to be redecorated. | Clean down glazing and redecorate frames and cills with 2 coats of satinwood. | No | 1 | 75 | 75
8.37 | Three | Steel pressed radiator is due to be cleaned. | Clean down radiator. | No | 2 | 10 | 20
8.38 | Seven | Tenant left fixtures and fittings mounted to walls. | Remove all fixtures, fittings and materials and make good to any damage. | Sum |  |  | By Tenant
8.39 | Seven | Tenant has installed shelving unit. | Remove shelving unit and make good to any damage. | Sum |  |  | 100
Stairwell
8.4 | Four | Plaster ceiling is slightly soiled and due for redecoration. | Clean down and redecorate plaster ceiling with 2 coats of emulsion. | m² | 15 | 10 | 150
8.41 | Three | Light fitting is soiled and due to be cleaned. | Clean down light fitting. | Sum |  |  | 20
8.42 | Four | Decorative cornice is due to be redecorated. | Clean down and redecorate decorative cornice. | m | 16 | 12 | 192
8.43 | Four | Woodchip to walls are soiled and due for redecoration. | Clean down and redecorate plasterboard walls with 2 coats of emulsion paint. | m² | 48 | 9 | 432
8.44 | Three | Carpet is slightly soiled, worn and due to be replaced. | Remove carpet and replace with new. | m² | 15 | 50 | 750
8.45 | Four | Timber skirting is soiled and due for redecoration. | Clean down and redecorate skirting with 2 coats of satinwood. | m | 8 | 7 | 56
8.46 | Four | Timber doors are soiled and due to be redecorated. | Clean down timber door and frame and redecorate with 2 coats of satinwood. | No | 4 | 120 | 480
8.47 | Five | Windows are soiled due to be cleaned and the timber surrounds redecorated. | Clean down glazing and redecorate frames and cills with 2 coats of satinwood. | Sum |  |  | 150
8.48 | Four | Stair handrail, balusters, stringers, treads are due for redecoration. | Clean down all timber and redecorate with 2 coats of satinwood. |  |  |  | 500
Corridor
8.49 | Four | Artex ceiling is due for redecoration. | Clean down and redecorate artex ceiling with 2 coats of emulsion. | m² | 12 | 11 | 132
8.5 | Three | Light fittings are soiled and due to be cleaned. One fitting is non functional. | Clean down light fittings. | Sum |  |  | 40
8.51 | Three |  | Remove and replace lamp with new. | Sum |  |  | 80
8.52 | Four | Woodchip to walls are due for decoration. | Repair all damage to walls and redecorate with 2 coats of emulsion. | m² | 35 | 9 | 315
8.53 | Three | Carpet is slightly soiled, worn and due to be replaced. | Remove carpet and replace with new. | m² | 12 | 48 | 576
8.54 | Four | Timber skirting is soiled and due for redecoration. | Clean down and redecorate skirting with 2 coats of satinwood (sufficient to cover blue paint finish). | m | 13 | 7 | 91
8.55 | Three | Steel pressed radiator is due to be cleaned. | Clean down radiator. | No | 1 | 10 | 10
8.56 | Four | Timber doors are soiled and due to be redecorated. | Clean down timber door and frame and redecorate with 2 coats of satinwood (sufficient to cover blue paint finish). | No | 11 | 120 | 1320
8.57 | Three | Broken mirror at south end. | Remove fitting and make good any damage. | Sum |  |  | 20
Store 8
9 |  | Male Toilet
9.01 | Four | Plaster ceiling is soiled, marked and due for redecoration. | Clean down and redecorate ceiling with 2 coats of emulsion to the approval of the Landlord. | m² | 3 | 9 | 27
9.02 | Three | Ceiling damaged from previous water ingress. | Make good damage to ceiling from water ingress. | Sum |  |  | 200
9.03 | Three | Non compliant light fitting. | Replace fitting with compliant fitting suitable for use in a toilet. | Sum |  |  | 150
9.04 | Four | Plastered walls are soiled and due for redecoration. | Clean down and redecorate walls with 2 coats of emulsion paint. | m² | 12 | 8 | 96
9.05 | Four | Timber wall panelling to window is soiled and due to be redecorated. | Clean down and redecorate timber panelling with 2 coats of emulsion. | m² | 4 | 11 | 44
9.06 | Three | Vinyl flooring is soiled and due to be replaced. | Remove and replace vinyl flooring with new. | m² | 3 | 48 | 144
9.07 | Four | Timber skirting is soiled and due for redecoration. | Clean down and redecorate skirting with 2 coats of satinwood. | m | 6 | 5 | 30
9.08 | Four | Timber doors are soiled and due to be redecorated. | Clean down timber door and frame and redecorate with 2 coats of satinwood. | No | 1 | 120 | 120
9.09 | Three | WC and WHB are soiled and due to be cleaned. | Clean down WC and WHB and ensure in working order. | Sum |  |  | 30
9.1 | Seven | Tenant has installed fittings and fixtures. | Remove fittings and fixtures and make good to any damage. | Sum |  |  | By Tenant
9.11 | Four | Window is soiled due to be cleaned and the timber frames and cills are due to be redecorated. | Clean down glazing and redecorate frame and cill with 2 coats of satinwood. | Sum |  |  | 75
9.12 | Three | Water heater supplying hot water. | Check and overhaul water heater and leave in good working order. | Sum |  |  | 25
Female Toilet
9.13 | Four | Plaster ceiling is soiled, marked and due for redecoration. | Clean down and redecorate ceiling with 2 coats of emulsion to the approval of the Landlord. | m² | 3 | 9 | 27
9.14 | Three | Ceiling damaged from previous water ingress. | Repair all damage to ceiling and make good. | Sum |  |  | 200
9.15 | Three | Non compliant light fitting. | Replace fitting with compliant fitting suitable for use in a toilet. | Sum |  |  | 150
9.16 | Four | Plastered walls are soiled and due for redecoration. | Clean down and redecorate plasterboard walls with 2 coats of emulsion paint. | m² | 9 | 8 | 72
9.17 | Four | Timber wall panelling to window is soiled and due to be redecorated. | Clean down and redecorate timber panelling with 2 coats of emulsion. | m² | 8 | 11 | 88
9.18 | Four | Carpet flooring is soiled, worn and due to be replaced. | Remove and replace carpet flooring with new vinyl flooring. | m² | 3 | 48 | 144
9.19 | Four | Timber skirting is soiled and due for redecoration. | Clean down and redecorate skirting with 2 coats of satinwood. | m | 2 | 5 | 10
9.2 | Three | WC are soiled and due to be cleaned. Wash hand basin is cracked. | Clean down WC and replace wash hand basin including taps, plug, chain and waste. | Sum |  |  | 250
9.21 | Seven | Tenant has installed fittings and fixtures. | Remove fittings and fixtures and make good to any damage. | Sum |  |  | By Tenant
9.22 | Four | Window is soiled and the timber frame and cill are due to be redecorated. | Clean down glazing and redecorate frame and cill with 2 coats of satinwood. | Sum |  |  | 75
Kitchen
9.23 | Four | Plaster ceiling including bulkhead is soiled and due to be redecorated. | Clean down and redecorate plaster ceiling with 2 coats of emulsion. | m² | 5 | 9 | 45
9.24 | Three | Cracking to walls and ceilings all round. | Make good damage to plasterwork/brickwork. | Sum |  |  | 1000
9.25 | Four | Decorative cornice in ceiling is due for decoration. | Clean down and redecorate plaster cornice with 2 coats of emulsion. | m | 8 | 12 | 96
9.26 | Three | Light fitting requires cleaning. | Clean down light fitting. Take down and refit for plaster works. | Sum |  |  | 100
9.27 | Four | Plastered walls are soiled and due for redecoration. | Clean down and redecorate plasterboard walls with 2 coats of emulsion paint. | m² | 11 | 8 | 88
9.28 | Four | Timber wall panelling to window is soiled and due to be redecorated. | Clean down and redecorate timber panelling with 2 coats of emulsion. | m² | 13 | 9 | 117
9.29 | Three | Vinyl flooring is soiled, worn, torn and due to be replaced. | Remove and replace vinyl flooring with new. | m² | 5 | 48 | 240
9.3 | Three | Tea prep units and cabinets are soiled, general overhaul required. | Clean down all units and surfaces, tighten all door hinges, leave units in good working order. | Sum |  |  | 100
9.31 | Seven | Tenant has installed fittings and fixtures. | Remove fittings and fixtures and make good to any damage. | Sum |  |  | By Tenant
9.32 | Seven | Redundant hot water heater to one wall. | Remove water heater and make good all damage. | Sum |  |  | 40
9.33 | Four | Window is soiled and the timber frames and cills are due to be redecorated. | Clean down glazing and redecorate frame and cill with 2 coats of satinwood. | Sum |  |  | 75
Office 7
9.34 | Three | Plaster cracking to ceiling. | Take down damaged areas and replace with new plasterboard, skim coat ready for decoration. | Sum |  |  | 1000
9.35 | Four | Ceiling requires decoration on completion of repair works. | Prepare new plasterboard and decorate with 3 coats of emulsion. | m² | 17 | 10 | 170
9.36 | Three | Fluorescent baton light fittings are soiled and due to be cleaned. | Clean down fluorescent baton light fittings. Take down and refit during plaster works. | No | 2 | 100 | 200
9.37 | Four | Decorative cornice is due to be redecorated. | Clean down and redecorate decorative cornice. | m | 17 | 12 | 204
9.38 | Three | Cracking, peeling and staining is present to cornice. | Repair all damage to cornice and make good. | Sum |  |  | 500
9.39 | Four | Woodchip to walls is due for redecoration. | Clean down and redecorate walls with 2 coats of emulsion paint. | m² | 42 | 9 | 378
9.4 | Three | Cracking at junction of walls. | Repair all damage to walls and make good. | Sum |  |  | 150
9.41 | Four | Timber wall panelling to bay is soiled and due to be redecorated. | Clean down and redecorate timber panelling with 2 coats of emulsion. | m² | 11 | 9 | 99
9.42 | Four | Timber skirting is soiled and due for redecoration. | Clean down and redecorate skirting with 2 coats of satinwood. | m | 16 | 7 | 112
9.43 | Three | Carpet is soiled, worn, torn and due to be replaced. | Remove carpet and replace with new. | m² | 17 | 48 | 816
9.44 | Seven | Tenant left fixtures and fittings mounted to walls. | Remove all fixtures, fittings and materials and make good to any damage. | Sum |  |  | By Tenant
9.45 | Three | Steel pressed radiator is due to be cleaned. | Clean down radiator. | No | 2 | 10 | 20
9.46 | Four | Windows are soiled and the timber frames and cills are due to be redecorated. | Clean down glazing and redecorate frames and cills with 2 coats of satinwood. | No | 2 | 75 | 150
9.47 | Four | Fireplace is due to be redecorated. | Clean down and redecorate fireplace with 2 coats of satinwood. | Sum |  |  | 150
9.48 | Three | Door closer is broken. | Replace closer to match existing. | Sum |  |  | 150
9.49 | Three | Surface run cable passes through top sash of eastmost window. | Remove cable and make good. | Sum |  |  | 100
Office 8
9.5 |  | No access
Office 6
9.51 | Four | Woodchip to ceiling is due for redecoration. | Clean down and redecorate ceilings with 2 coats of emulsion. | m² | 16 | 10 | 160
9.52 | Three | Cracking and water ingress marks are present to ceiling. | Repair all damages to ceiling and make good. | Sum |  |  | 400
9.53 | Three | Light fittings are soiled and due to be cleaned. | Clean down light fittings. | Sum |  |  | 60
9.54 | Four | Decorative cornice is present to room and due to be redecorated. | Clean down and redecorate decorative cornice. | m | 16 | 12 | 192
9.55 | Three | Cracking is present to cornicing. | Repair cracking and make good to any damage. | Sum |  |  | 400
9.56 | Four | Woodchip finish to walls is due for redecoration. | Clean down, make good and redecorate walls with 2 coats of emulsion paint. | m² | 48 | 9 | 432
9.57 | Three | Cracking is present to wall finish. | Repair all cracking and damage to walls. | Sum |  |  | 300
9.58 | Four | Timber wall panelling to bay is soiled and due to be redecorated. | Clean down and redecorate timber panelling with 2 coats of satinwood. | m² | 10 | 30 | 300
9.59 | Four | Timber skirting is soiled and due for redecoration. | Clean down and redecorate skirting with 2 coats of satinwood. | m | 19 | 7 | 133
9.6 | Three | Carpet is slightly soiled and due to be replaced. | Remove carpet and replace with new. | m² | 16 | 48 | 768
9.61 | Seven | Tenant left fixtures and fittings mounted to walls. | Remove all fixtures, fittings and materials and make good to any damage. | Sum |  |  | by Tenant
9.62 | Three | Steel pressed radiator is due to be cleaned. | Clean down radiators. | No | 4 | 10 | 40
9.63 | Four | Windows are due to be cleaned and the timber frames and cills are due to be redecorated. | Clean down glazing and redecorate frames and cills with 2 coats of satinwood. | No | 2 | 75 | 150
9.64 | Seven | Tenant has altered the layout of the building by removing the partition between Office 6 and Store 7. | Reinstate previous partition between Office 6 and Store 7. | Sum |  |  | 1000
9.65 | Seven | Door to Store 7 from Office 6 has been removed and requires to be reinstated. | Reinstate previous door and make good. | Sum |  |  | 500
9.66 | Seven | Tenant has installed partitions to form smaller office inside Office 6 to Southwest corner. | Remove all partitions and make good to any damage. | Sum |  |  | 400
9.67 | Seven | Tenant has altered lighting layout. | Remove tenant added lighting and replace lighting to new Store 7 and Office 6. | Sum |  |  | 300
9.68 | Seven | Tenant has removed previous cornicing to party walls between Office 6 and Store 7. | Reinstate previous decorative cornicing to party walls between Office 6 and Store 7. | m | 9 | 150 | 1350
9.69 | Four | Tenant has removed previous skirting to party walls between Office 6 and Store 7. | Reinstate previous decorative skirting to party walls between Office 6 and Store 7 and redecorate with 2 coats of satinwood. | m | 9 | 40 | 360
Recording Room
9.7 | Four | Ceiling is slightly soiled and due for redecoration. | Clean down and redecorate texture coated ceiling with 2 coats of emulsion. | m² | 6 | 8 | 48
9.71 | Three | Light fitting is soiled and due to be cleaned. | Clean down light fitting. | Sum |  |  | 20
9.72 | Three | Light fitting to lobby is non working. | Replace lamp with new to match existing. | Sum |  |  | 80
9.73 | Four | Walls are soiled and due for redecoration. | Clean down, make good and redecorate texture coated walls with 2 coats of emulsion paint. | m² | 25 | 7 | 175
9.74 | Four | Timber skirting is soiled and due for redecoration. | Clean down and redecorate skirting with 2 coats of satinwood. | m | 9 | 5 | 45
9.75 | Three | Carpet is slightly soiled and due to be replaced. | Remove carpet and replace with new. | m² | 6 | 48 | 288
9.76 | Seven | Tenant has installed shelving mounted to wall. | Remove shelving and make good to any damage. | Sum |  |  | 50
9.77 | Seven | Tenant has installed desk mounted to floor and walls. | Remove desk and make good to any damage. | Sum |  |  | 50
9.78 | Three | Extract fan to ceiling is not working. | Clean down extract fan and repair and ensure in working order. | Sum |  |  | 150
9.79 | Four | Timber door to recording room is due to be redecorated. | Clean down timber door and frame and redecorate with 2 coats of satinwood. | Sum |  |  | 120
Corridor to Offices
9.8 | Four | Woodchip to ceiling is slightly soiled and due for redecoration. | Clean down and redecorate texture coated ceiling with 2 coats of emulsion. | m² | 8 | 9 | 72
9.81 | Three | Fluorescent baton light fittings require to be cleaned. | Clean down light fittings. | No | 1 | 20 | 20
9.82 | Four | Plain band cornice is due to be redecorated. | Clean down and redecorate cornice. | m | 15 | 10 | 150
9.83 | Four | Woodchip to walls is due for redecoration. | Clean down, make good and redecorate texture coated walls with 2 coats of emulsion paint. | m² | 40 | 9 | 360
9.84 | Three | Carpet is soiled, worn and due to be replaced. | Remove carpet and replace with new. | m² | 9 | 48 | 432
9.85 | Four | Timber skirting is soiled and due for redecoration. | Clean down and redecorate skirting with 2 coats of satinwood. | m | 9 | 7 | 63
9.86 | Seven | Tenant has installed shelving units to East wall. | Remove shelving units and make good to any damage. | Sum |  |  | 50
9.87 | Four | Timber handrails and post to small stair are due for redecoration. | Redecorate handrail with 2 coats satinwood. | m | 2 | 20 | 40
9.88 | Three | Nosings to stairs are damaged, worn and require to be replaced. | Remove nosings and replace with new to match existing. | No | 4 | 40 | 160
9.88 | Seven | Door to corridor is missing and has been removed by tenant | Reinstate previous timber door and make good to any damages. | Sum |  |  | 350
9.89 | Seven | Tenant has installed fittings and signage to walls. | Remove fittings and signage and make good to any damage. | Sum |  |  | 20
9.9 | Four | Timber doors are soiled and due to be redecorated. | Clean down timber door and frame and redecorate with 2 coats of satinwood. | No | 2 | 120 | 240
10 |  | Open Plan Office
10.01 | Four | Plasterboard ceiling is soiled, marked and due for redecoration. | Clean down and redecorate ceiling with 2 coats of emulsion to the approval of the Landlord. | m² | 71 | 9 | 639
10.02 | Three | Damage from roof leak at south west corner. | Confirm leak repaired. | Sum |  |  | By Tenant
10.03 | Three | Fluorescent baton light fittings are soiled, non functional and requires to be replaced. | Clean down light fittings and replace lamps with new to match existing. | No | 12 | 150 | 1800
10.04 | Three | Bulkhead light fittings are present to the ceiling. | Clean down and relamp bulkhead lights. | No | 2 | 80 | 160
10.05 | Four | Plain cornice due to be redecorated. | Clean down and redecorate cornice. | m | 41 | 8 | 328
10.06 | Four | Plastered walls are soiled and due for redecoration. | Clean down and redecorate walls with 2 coats of emulsion paint. | m² | 85 | 8 | 680
10.07 | Four | Timber skirting is soiled and due for redecoration. | Clean down and redecorate skirting with 2 coats of satinwood. | m | 33 | 5 | 165
10.08 | Three | Carpet is soiled and worn. | Replace carpet tiles with new. | m² | 71 | 48 | 3408
10.09 | Seven | Tenant has installed chequer plate metal strip fittings and installed power sockets. | Remove metal fittings and power sockets to floor, make good all damage. | Sum |  |  | 300
10.1 | Four | Sapele faced doors need cleaned down and timber painted surrounds redecorated. | Clean down timber doors and redecorate surrounds with 2 coats satinwood. | No | 6 | 20 | 120
10.11 | Four | Timber fire exit door is due to be redecorated. | Clean down timber door and frame and redecorate with 2 coats of satinwood. | No | 1 | 120 | 120
10.12 | Four | Windows are due to be cleaned and the timber frames and cills redecorated. | Clean down glazing and redecorate frames and cills with 2 coats of satinwood. | No | 3 | 75 | 225
10.13 | Three | Steel pressed radiator is due to be cleaned. | Clean down radiator and ensure in working order. | No | 3 | 10 | 30
Office 11
10.14 | Four | Plasterboard ceiling is soiled and due for redecoration. | Clean down and redecorate ceiling with 2 coats of emulsion to the approval of the Landlord. | m² | 19 | 9 | 171
10.15 | Three | Fluorescent baton light fittings require to be cleaned. | Clean down light fittings. | No | 2 | 20 | 40
10.16 | Four | Plain band cornice is present to room and due to be redecorated. | Clean down and redecorate cornice. | m | 41 | 7 | 287
10.17 | Four | Plasterboard walls are soiled, marked and due for redecoration. | Clean down and redecorate plasterboard walls with 2 coats of emulsion paint. | m² | 40 | 8 | 320
10.18 | Four | Timber skirting is soiled and due for redecoration. | Clean down and redecorate skirting with 2 coats of satinwood. | m | 16 | 5 | 80
10.19 | Three | Carpet is soiled and worn. | Replace carpet with new. | m² | 19 | 48 | 912
10.2 | Seven | Tenant has installed fixtures and fittings mounted to walls. | Remove fixtures and fittings and make good to any damage. | Sum |  |  | 20
10.21 | Four | Window is are soiled and the timber frames and cills are due to be redecorated. | Clean down glazing and redecorate frames and cills with 2 coats of satinwood. | No | 1 | 75 | 75
10.22 | Three | Steel pressed radiator is due to be cleaned. | Clean down radiator and ensure in working order. | No | 1 | 10 | 10
10.23 | Four | Access hatch and frame to ceiling are due for redecoration. | Clean down and redecorate hatch and frame with 2 coats of satinwood. | Sum |  |  | 20
Note there was no access to Offices 12-16 during the survey but these have been assumed to be as Office 11.
Office 12
10.24 | Four | Plasterboard ceiling is soiled and due for redecoration. | Clean down and redecorate ceiling with 2 coats of emulsion to the approval of the Landlord. | m² | 15 | 9 | 135
10.25 | Three | Fluorescent baton light fittings require to be cleaned. | Clean down light fittings. | No | 2 | 20 | 40
10.26 | Four | Plain band cornice is present to room and due to be redecorated. | Clean down and redecorate cornice. | m | 16 | 10 | 160
10.27 | Four | Plasterboard walls are soiled, marked and due for redecoration. | Clean down and redecorate plasterboard walls with 2 coats of emulsion paint. | m² | 34 | 8 | 272
10.28 | Four | Timber skirting is soiled and due for redecoration. | Clean down and redecorate skirting with 2 coats of satinwood. | m | 15 | 5 | 75
10.29 | Three | Carpet is soiled and worn. | Replace carpet tiles with new. | m² | 15 | 48 | 720
10.3 | Seven | Tenant has installed fixtures and fittings mounted to walls. | Remove fixtures and fittings and make good to any damage. | Sum |  |  | 20
10.31 | Four | Window is are soiled and the timber frames and cills are due to be redecorated. | Clean down glazing and redecorate frames and cills with 2 coats of satinwood. | No | 1 | 25 | 25
10.32 | Three | Steel pressed radiator is due to be cleaned. | Clean down radiator and ensure in working order. | No | 1 | 10 | 10
Office 13
10.33 | Four | Plasterboard ceiling is soiled and due for redecoration. | Clean down and redecorate ceiling with 2 coats of emulsion to the approval of the Landlord. | m² | 15 | 9 | 135
10.34 | Three | Fluorescent baton light fittings require to be cleaned. | Clean down light fittings. | No | 2 | 20 | 40
10.35 | Four | Plain band cornice is present to room and due to be redecorated. | Clean down and redecorate cornice. | m | 16 | 10 | 160
10.36 | Four | Plasterboard walls are soiled, marked and due for redecoration. | Clean down and redecorate plasterboard walls with 2 coats of emulsion paint. | m² | 34 | 8 | 272
10.37 | Four | Timber skirting is soiled and due for redecoration. | Clean down and redecorate skirting with 2 coats of satinwood. | m | 15 | 5 | 75
10.38 | Three | Carpet is soiled and worn. | Replace carpet tiles with new. | m² | 15 | 48 | 720
10.39 | Seven | Tenant has installed fixtures and fittings mounted to walls. | Remove fixtures and fittings and make good to any damage. | Sum |  |  | 20
10.4 | Four | Timber framed windows are soiled due to be cleaned and the timber frames and cills are due to be redecorated. | Clean down glazing and redecorate frames and cills with 2 coats of satinwood. | No | 1 | 25 | 25
10.41 | Three | Steel pressed radiator is due to be cleaned. | Clean down radiator and ensure in working order. | No | 1 | 10 | 10
10.42 |  | Office 14
10.43 | Four | Plasterboard ceiling is soiled and due for redecoration. | Clean down and redecorate ceiling with 2 coats of emulsion to the approval of the Landlord. | m² | 15 | 9 | 135
10.44 | Three | Fluorescent baton light fittings require to be cleaned. | Clean down light fittings. | No | 2 | 20 | 40
10.45 | Four | Plain band cornice is present to room and due to be redecorated. | Clean down and redecorate cornice. | m | 16 | 10 | 160
10.46 | Four | Plasterboard walls are soiled, marked and due for redecoration. | Clean down and redecorate plasterboard walls with 2 coats of emulsion paint. | m² | 34 | 8 | 272
10.47 | Four | Timber skirting is soiled and due for redecoration. | Clean down and redecorate skirting with 2 coats of satinwood. | m | 15 | 5 | 75
10.48 | Three | Carpet is soiled and worn. | Replace carpet tiles with new. | m² | 15 | 48 | 720
10.49 | Seven | Tenant has installed fixtures and fittings mounted to walls. | Remove fixtures and fittings and make good to any damage. | Sum |  |  | 20
10.5 | Four | Timber framed windows are soiled due to be cleaned and the timber frames and cills are due to be redecorated. | Clean down glazing and redecorate frames and cills with 2 coats of satinwood. | No | 1 | 25 | 25
10.51 | Three | Steel pressed radiator is due to be cleaned. | Clean down radiator and ensure in working order. | No | 1 | 10 | 10
Office 15
10.52 | Four | Plasterboard ceiling is soiled and due for redecoration. | Clean down and redecorate ceiling with 2 coats of emulsion to the approval of the Landlord. | m² | 15 | 9 | 135
10.53 | Three | Fluorescent baton light fittings require to be cleaned. | Clean down light fittings. | No | 2 | 20 | 40
10.54 | Four | Plain band cornice is present to room and due to be redecorated. | Clean down and redecorate cornice. | m | 16 | 10 | 160
10.55 | Four | Plasterboard walls are soiled, marked and due for redecoration. | Clean down and redecorate plasterboard walls with 2 coats of emulsion paint. | m² | 34 | 8 | 272
10.56 | Four | Timber skirting is soiled and due for redecoration. | Clean down and redecorate skirting with 2 coats of satinwood. | m | 15 | 5 | 75
10.57 | Three | Carpet is soiled and worn. | Replace carpet tiles with new. | m² | 15 | 48 | 720
10.58 | Seven | Tenant has installed fixtures and fittings mounted to walls. | Remove fixtures and fittings and make good to any damage. | Sum |  |  | 20
10.59 | Four | Timber framed windows are soiled due to be cleaned and the timber frames and cills are due to be redecorated. | Clean down glazing and redecorate frames and cills with 2 coats of satinwood. | No | 1 | 25 | 25
10.6 | Three | Steel pressed radiator is due to be cleaned. | Clean down radiator and ensure in working order. | No | 1 | 10 | 10
Office 16
10.61 | Four | Plasterboard ceiling is soiled and due for redecoration. | Clean down and redecorate ceiling with 2 coats of emulsion to the approval of the Landlord. | m² | 12 | 9 | 108
10.62 | Three | Fluorescent baton light fittings require to be cleaned. | Clean down light fittings. | No | 2 | 20 | 40
10.63 | Four | Plain band cornice is present to room and due to be redecorated. | Clean down and redecorate cornice. | m | 15 | 10 | 150
10.64 | Four | Plasterboard walls are soiled, marked and due for redecoration. | Clean down and redecorate plasterboard walls with 2 coats of emulsion paint. | m² | 27 | 8 | 216
10.65 | Four | Timber skirting is soiled and due for redecoration. | Clean down and redecorate skirting with 2 coats of satinwood. | m | 14 | 5 | 70
10.66 | Three | Carpet is soiled and worn. | Replace carpet tiles with new. | m² | 12 | 48 | 576
10.67 | Seven | Tenant has installed fixtures and fittings mounted to walls. | Remove fixtures and fittings and make good to any damage. | Sum |  |  | 20
10.68 | Four | Timber framed windows are soiled due to be cleaned and the timber frames and cills are due to be redecorated. | Clean down glazing and redecorate frames and cills with 2 coats of satinwood. | No | 1 | 25 | 25
10.69 | Three | Steel pressed radiator is due to be cleaned. | Clean down radiator and ensure in working order. | No | 1 | 10 | 10
Rear fire exit stairwell
10.7 | Four | Ceiling is soiled and due for redecoration. | Clean down and redecorate ceiling with 2 coats of emulsion to the approval of the Landlord. | m² | 13 | 9 | 117
10.71 | Three | Fluorescent bulkhead light fittings require to be cleaned. | Clean down light fittings. | No | 3 | 20 | 60
10.72 | Four | Cornice to ceiling at first floor level. | Clean down and redecorate cornice. | m | 12 | 10 | 120
10.73 | Four | Walls are soiled, marked and due for redecoration. | Remove finish and redecorate walls with 3 coats of emulsion paint. | m² | 40 | 10 | 400
10.74 | Three | Damage to walls and signs of previous water ingress at ground floor level. | Repair cracking and make good damage from water ingress. | Sum |  |  | 200
10.75 | Three | Carpet is soiled and worn. | Replace carpet with new. | m² | 13 | 50 | 650
10.76 | Three | Nosing to stairs are damaged, worn. | Remove nosings and replace with new to match existing. | No | 21 | 50 | 1050
10.77 | Four | Timber skirting is soiled and due for redecoration. | Clean down and redecorate skirting with 2 coats of satinwood. | m | 10 | 10 | 100
10.78 | Four | Stringers to stairwell are due to be redecorated. | Redecorate stringers with proprietary paint to the approval of the Landlord. | m | 7 | 20 | 140
10.79 | Four | Metal balusters are due to be redecorated. | Redecorate railings with 1 coat of undercoat and 1 coat of gloss. Clean down vinyl handrail. | m | 12 | 15 | 180
10.8 | Four | Window at first floor landing level is due to be cleaned and the timber frames and cill redecorated. | Clean down glazing and redecorate frames and cills with 2 coats of satinwood. | No | 1 | 75 | 75
10.81 | Four | Fire exit doors are due for decoration. | Clean down and redecorate door and frames with 2 coats of satinwood. | No | 1 | 120 | 120
Attic void original building
10.82 | Three | Full of tenant's equipment/belongings. | Remove all effects and clean loft space on completion. |  |  |  | By Tenant
10.83 | Three | 3 skylights affording roof access have been boarded up, 2 are fixed closed. | Restore skylights to full working order. | No | 3 | 150 | 450
10.84 |  | Heavy salt staining to underside of sarking. | Arrange for full survey of sarking and other roof timbers to check for timbe decay. Repair all areas of decay identified in the survey report. |  |  |  | To be confirmed following survey.
10.85 |  | Staircase to attic is due for decoration. | Clean and redecorate stair with 2 coats satinwood inlcuding non slip treatment of treads. | Sum |  |  | 300
10.86 |  | Walls and ceilings to stair access are due for decoration. | Clean and redecorate stair with 2 coats emulsion. | Sum |  |  | 200
|  | Total for Collection |  |  |  |  | 52068

## General Items
Item No | Lease clause | Want of repair | Remedy | U | Q | R | £
11 |  | General Items
11.01 | Three | Door ironmongery to all doors needs services throughout the buildings. | Check all ironmongery, tighter all door closers, hinges, locks, bolts, fixings and leave in good working order. | No | 52 | 15 | 780
11.02 | Three | Tenant has installed blinds to windows throughout premises and in poor condition throughout. | Remove blinds and fittings from windows and make good all damage. | No | 78 | 15 | 1170
Asbestos
11.03 | Three, Eight | The Tenant is required to comply with the Control of Asbestos Regulations 2012 and maintain a current Asbestos Register. | Provide Landlord with copy of Asbestos Register in accordance with Regulation 4 of the Control of Asbestos Regulations 2012. | Sum |  |  | By tenant
11.04 | Three, Eight | Comply with the Control of Asbestos Regulations 2012. | Allow for Refurbishment and Demolition survey in advance of the dilapidation works. | Sum |  |  | 500
11.05 | Three, Eight | Comply with the Control of Asbestos Regulations 2012. | Allow for removal of asbestos containing materials in advance of the dilapidations works. | Sum |  |  | To be confirmed following survey.
Mechanical and Electrical Installations
12 |  | Gas and central heating installations
12.01 | Three, Eight | Gas supply and gas installations to be inspected and tested in accordance with the Gas Safety (Installation and Use) Regulations 1998. | Provide a copy of records relating to inspection, testing and maintenance of the gas installations. | Sum |  |  | By Tenant
12.02 | Three, Eight |  | If no records are available, or the records identify remedial or repair works are required, tenant to undertake these and provide updated test certificate on completion confirming installation is in full compliance with the regulations. |  |  |  | 750
12.03 | Three | Provide all service records for gas boilers. | If no records are available, or the records identify remedial or repair works are required, tenant to undertake these and provide updated test certificate on completion. |  |  |  | 500
12.04 |  | Radiators are fitted with thermostatic radiator valves. | Test all valves and leave in good working order. |  |  |  | 200
13 |  | Electrical Installations
13.01 | Three, Eight | Electrical installation is required to be tested on a regular basis, in accordance with British Standard 7671: 2018. | Provide certificate from NICEIC registered Electrician confirming test and making good of defects to fixed electrical installation has been carried out within last 5 years in accordance with the British Standard 7671:2018 Requirements for Electrical Installations (IET Regulations, 18th Edition), as amended. | Sum |  |  | By Tenant
13.02 | Three, Eight |  | If no certificate exists, inspect and test entire electrical installation throughout and provide full report thereon of any remedial works. |  |  |  | 750
1.03 | Three, Eight |  | Undertake any remedial works included in the report and provide a Certificate of Compliance on completion. |  |  |  | To be confirmed following testing.
14 |  | Emergency Lighting Installations
14.01 | Three, Eight | Emergency lighting installation is to be inspected and tested on a regular basis in accordance with BS 7671 (as amended). | Provide a copy of the latest emergency lighting test certification. | Sum |  |  | By Tenant
14.02 | Three, Eight |  | If no certificate exists, inspect and test entire emergency lighting installation throughout and provide full report thereon. |  |  |  | 500
14.03 | Three, Eight |  | Undertake any remedial works included in the report and provide Certificate of Compliance on completion. |  |  |  | To be confirmed following testing.
15 |  | Fire Safety Installations
15.01 | Three, Eight | Fire alarm installations are to be inspected and tested on a regular basis. | Provide a copy of the latest fire alarm test certification. | Sum |  |  | By Tenant
15.02 | Three, Eight |  | If no certificate exists, inspect and test the fire alarm installation throughout and provide full report thereon. |  |  |  | 500
15.03 | Three, Eight |  | Undertake any remedial works included in the report and provide Certificate of Compliance on completion. |  |  |  | To be confirmed following testing.
16 |  | Legionella
16.01 | Three, Eight | Requirement to have a Legionella Risk Assessment, in accordance with HSE Acop L8 "Legionnaires disease: The control of legionella bacteria in water systems". | Tenant to provide a copy of the Control of Legionella Risk Assessment for review. | Sum |  |  | 300
16.02 |  |  | Undertake any remedial works included in the report and provide Certificate of Compliance on completion. | Sum |  |  | To be confirmed following testing.
17 |  | Cleaning
17.01 | Three, Five | Tenant is required to clean unit on expiry. | Thoroughly clean down all surfaces internally and externally including all sanitary ware etc. leaving in a clean and tidy condition. Include for removing all litter, debris and stored articles throughout. |  |  |  | 1000
|  | Total for Collection |  |  |  |  | 6950

## Collection
Item No |  |  | £
COLLECTION
| External |  | 102711.5
| Ground Floor |  | 43723
| First Floor |  | 52068
| General Items |  | 6950
| Sub total |  | 205452.5
| Contractor preliminaries | Allow 20% | 41090.5
| Sub Total of work items |  | 246543
Professional fees for managing the works
| Contract administration | Allow 10% | 24654.3
| Mechanical and electrical engineer | Allow 0% | 0
| Principal Designer | Allow 1% | 2465.43
| Sub Total |  | 273662.73
| Professional Fees (exc. VAT) for preparation of Schedule of Dilapidations (Building Surveyor) |  | 1750
| Professional Fees (exc. VAT) for Negotiation of Settlement | Allow 5% | 13683.1365
| GRAND TOTAL EXCLUDING VAT |  | 289095.8665